- CABLING SPECIFICATION OF THE POWER SUPPLY SYSTEM FOR THE APDs OF THE CMS ECAL

- ABSTRACT

This specification is for the procurement of cables for the high voltage supply of the APD’s of the Electromagnetic Calorimeter for the CMS experiment at CERN.  The supply consists of 148 36-wire cables of a total length between 15 and 22 km, 1258 4-wire cables of a total length between 3 and 5 km, 306 male and 153 female 36-contact  connectors, 1358 male and 1358 female 4-contact connectors. The delivery must be completed by June 1, 2004. Cables and connectors must be conform to CERN Electrical Safety Code (C1), CERN Safety Instruction 23 (IS 23) and CERN Safety Instruction 41 (IS 41).

- TENDER DOCUMENT ONLY

NOT VALID FOR MANUFACTURE